## data
Release date: April 2015 Revised date3: January 2017
Table B40. Cooling equipment, number of buildings, 2012
Number of buildings (thousand)
| All buildings | Buildings with cooling | Cooling equipment (more than one may apply)
| All buildings |  | Resid- ential- type central air condi- tioners | Heat pumps | Indiv- idual air condi- tioners | District chilled water | Central chillers | Pack- aged air condi- tioning units | Swamp coolers | Other
All buildings | 5557 | 4461 | 1546 | 692 | 709 | 54 | 163 | 1909 | 109 | Q
Building floorspace (square feet)
1,001 to 5,000 | 2777 | 2062 | 796 | 321 | 362 | Q | Q | 697 | 58 | Q
5,001 to 10,000 | 1229 | 1004 | 403 | 168 | 136 | Q | Q | 418 | Q | N
10,001 to 25,000 | 884 | 774 | 246 | 91 | 116 | 9 | 36 | 407 | Q | Q
25,001 to 50,000 | 332 | 302 | 72 | 52 | 46 | Q | 29 | 181 | Q | Q
50,001 to 100,000 | 199 | 187 | 21 | 41 | 29 | 10 | 36 | 124 | 7 | Q
100,001 to 200,000 | 90 | 88 | 7 | 13 | 12 | 9 | 23 | 54 | Q | Q
200,001 to 500,000 | 38 | 37 | 2 | 5 | 7 | 4 | 18 | 24 | Q | Q
Over 500,000 | 8 | 8 | Q | 1 | 1 | 1 | 5 | 5 | Q | Q
Principal building activity
Education | 389 | 361 | 68 | 69 | 45 | 25 | 42 | 165 | Q | Q
Food sales | 177 | 165 | 64 | Q | Q | N | Q | 76 | Q | N
Food service | 380 | 358 | 110 | 37 | 48 | Q | Q | 188 | 21 | N
Health care | 157 | 154 | 58 | 28 | 8 | Q | 16 | 72 | Q | Q
Inpatient | 10 | 10 | Q | 2 | 2 | 1 | 6 | 6 | Q | Q
Outpatient | 147 | 145 | 57 | 26 | Q | Q | 10 | 66 | Q | Q
Lodging | 158 | 145 | 34 | 36 | 71 | Q | 11 | 40 | Q | Q
Mercantile | 602 | 560 | 209 | 96 | 73 | N | Q | 301 | 14 | N
Retail (other than mall) | 438 | 396 | 133 | 60 | 61 | N | Q | 170 | Q | N
Enclosed and strip malls | 164 | 164 | 76 | 36 | 12 | N | Q | 131 | Q | N
Office | 1012 | 995 | 358 | 175 | 124 | 10 | 43 | 396 | Q | Q
Public assembly | 352 | 295 | 116 | 42 | 29 | 5 | 15 | 127 | Q | Q
Public order and safety | 84 | 74 | 23 | Q | Q | Q | 4 | 32 | Q | Q
Religious worship | 412 | 375 | 164 | 57 | 61 | Q | Q | 146 | Q | Q
Service | 619 | 435 | 138 | 50 | 126 | N | Q | 140 | Q | Q
Warehouse and storage | 796 | 391 | 149 | 57 | 71 | N | Q | 158 | Q | Q
Other | 125 | 90 | 39 | Q | Q | Q | 6 | 43 | Q | Q
Vacant | 296 | 63 | Q | Q | Q | Q | Q | 26 | Q | Q
Year constructed
Before 1920 | 362 | 275 | 116 | 29 | 84 | Q | 6 | 75 | Q | N
1920 to 1945 | 488 | 367 | 153 | 41 | 100 | Q | 12 | 127 | Q | Q
1946 to 1959 | 599 | 477 | 145 | 76 | 109 | Q | 18 | 185 | Q | Q
1960 to 1969 | 639 | 538 | 192 | 71 | 89 | 11 | 25 | 241 | 13 | Q
1970 to 1979 | 684 | 563 | 203 | 67 | 86 | 9 | 21 | 258 | 16 | Q
1980 to 1989 | 915 | 730 | 234 | 137 | 87 | 3 | 26 | 341 | 13 | Q
1990 to 1999 | 845 | 663 | 235 | 124 | 78 | 10 | 22 | 271 | 15 | Q
2000 to 2003 | 375 | 321 | 106 | 40 | 34 | 5 | 11 | 157 | Q | Q
2004 to 2007 | 347 | 293 | 86 | 58 | 29 | 6 | 9 | 144 | Q | Q
2008 to 2012 | 303 | 235 | 76 | 50 | 12 | Q | 15 | 110 | Q | N
Census region and division
Northeast | 805 | 592 | 178 | 53 | 190 | 7 | 26 | 253 | Q | Q
New England | 302 | 187 | 53 | 16 | 67 | Q | 12 | 81 | Q | Q
Middle Atlantic | 504 | 405 | 124 | 38 | 123 | Q | 14 | 172 | Q | Q
Midwest | 1237 | 970 | 480 | 65 | 147 | 2 | 37 | 362 | Q | Q
East North Central | 735 | 601 | 305 | 33 | 80 | 2 | 24 | 235 | Q | Q
West North Central | 502 | 370 | 175 | 32 | 68 | Q | 13 | 127 | N | Q
South | 2247 | 1891 | 633 | 409 | 257 | 35 | 70 | 786 | Q | Q
South Atlantic | 1091 | 935 | 251 | 296 | 121 | 22 | 40 | 376 | Q | Q
East South Central | 370 | 335 | 112 | 54 | 54 | Q | 8 | 156 | N | N
West South Central | 786 | 621 | 270 | 59 | 81 | 6 | 22 | 254 | Q | Q
West | 1267 | 1007 | 255 | 165 | 114 | 9 | 29 | 508 | 89 | Q
Mountain | 338 | 259 | 73 | 31 | 23 | 1 | 12 | 125 | 36 | Q
Pacific | 929 | 748 | 182 | 134 | 91 | 8 | 18 | 383 | 53 | Q
Climate region1
Very cold/Cold | 2031 | 1497 | 586 | 125 | 279 | 7 | 63 | 620 | 51 | Q
Mixed-humid | 1743 | 1482 | 507 | 337 | 243 | 18 | 48 | 568 | Q | Q
Mixed-dry/Hot-dry | 837 | 682 | 182 | 116 | 71 | 7 | 20 | 358 | 42 | Q
Hot-humid | 799 | 699 | 255 | 92 | 101 | 21 | 28 | 310 | Q | Q
Marine | 147 | 101 | Q | Q | Q | Q | 4 | 53 | Q | Q
Number of floors
One | 3836 | 2954 | 1027 | 465 | 394 | 17 | 48 | 1301 | 89 | Q
Two | 1158 | 994 | 370 | 162 | 163 | 13 | 40 | 419 | 13 | Q
Three | 374 | 338 | 120 | 35 | 105 | 8 | 27 | 115 | Q | Q
Four to nine | 177 | 163 | 29 | 29 | 44 | 15 | 39 | 69 | Q | Q
Ten or more | 13 | 12 | Q | 2 | 3 | 1 | 8 | 6 | Q | Q
Number of workers (main shift)
Fewer than 5 | 2892 | 1932 | 736 | 272 | 389 | Q | 23 | 644 | 48 | Q
5 to 9 | 1085 | 999 | 379 | 171 | 127 | Q | 16 | 418 | 26 | Q
10 to 19 | 731 | 699 | 255 | 95 | 88 | Q | 17 | 353 | Q | Q
20 to 49 | 513 | 498 | 136 | 96 | 60 | 9 | 28 | 288 | 8 | Q
50 to 99 | 206 | 203 | 30 | 39 | 23 | 9 | 35 | 132 | 6 | Q
100 to 249 | 93 | 93 | 10 | 13 | 16 | 6 | 27 | 53 | Q | Q
250 or more | 37 | 37 | 1 | 6 | 5 | 5 | 19 | 21 | Q | Q
Weekly operating hours
Fewer than 40 | 1149 | 690 | 266 | 110 | 138 | Q | 8 | 231 | Q | Q
40 to 48 | 1346 | 1168 | 444 | 175 | 185 | 12 | 34 | 424 | 26 | Q
49 to 60 | 1244 | 1084 | 391 | 180 | 149 | 10 | 45 | 460 | 29 | Q
61 to 84 | 764 | 669 | 227 | 113 | 88 | 9 | 21 | 340 | 27 | Q
85 to 167 | 479 | 419 | 113 | 45 | 45 | 12 | 17 | 242 | 12 | Q
Open continuously | 575 | 431 | 105 | 69 | 104 | 11 | 37 | 213 | Q | Q
Ownership and occupancy
Nongovernment owned | 4781 | 3817 | 1398 | 567 | 600 | 17 | 89 | 1646 | 96 | Q
Owner occupied | 2466 | 2046 | 767 | 323 | 342 | 14 | 52 | 790 | 58 | Q
Leased to tenant(s) | 1745 | 1421 | 507 | 183 | 203 | 2 | 24 | 692 | 36 | Q
Owner occupied and leased | 349 | 324 | 115 | 58 | 50 | 1 | 11 | 155 | Q | Q
Unoccupied | 221 | 26 | Q | Q | Q | N | Q | Q | N | N
Government owned | 776 | 644 | 148 | 125 | 109 | 37 | 74 | 263 | 14 | Q
Federal | 33 | 33 | Q | Q | Q | Q | 6 | 12 | Q | Q
State | 185 | 159 | 34 | 30 | 21 | 20 | 21 | 62 | Q | Q
Local | 558 | 452 | 102 | 93 | 82 | 16 | 47 | 190 | Q | Q
Party responsible for operation and maintenance of energy systems
Building owner | 4715 | 3740 | 1288 | 595 | 615 | 53 | 154 | 1531 | 93 | Q
Business owner or tenant | 724 | 625 | 225 | 75 | 80 | Q | 6 | 338 | Q | Q
Property management | 54 | 44 | Q | Q | Q | Q | 2 | 23 | Q | Q
Other | 64 | 52 | Q | Q | Q | Q | Q | 18 | N | Q
Provider of direct input on energy-related equipment purchases
Building owner | 4876 | 3865 | 1342 | 617 | 618 | 54 | 155 | 1604 | 97 | Q
Business owner or tenant | 540 | 474 | 165 | 48 | 78 | Q | 5 | 249 | Q | Q
Property management | 35 | 32 | Q | Q | Q | Q | Q | 16 | N | Q
Other | 106 | 90 | 30 | 24 | Q | Q | Q | 41 | Q | N
Campus or complex activity
Not part of a campus or complex | 3683 | 3111 | 1158 | 424 | 490 | Q | 96 | 1325 | 80 | Q
Primary or secondary school | 237 | 207 | 29 | 46 | 32 | 16 | 15 | 98 | Q | N
College or university | 84 | 77 | Q | 15 | Q | 24 | 13 | 21 | Q | Q
Office complex | 154 | 145 | 47 | 29 | 9 | Q | 5 | 63 | Q | Q
Retail complex | 258 | 214 | 82 | 39 | 24 | N | Q | 124 | Q | N
Storage complex | 314 | 58 | Q | Q | 21 | N | N | 18 | Q | N
Religious campus or complex | 197 | 168 | 57 | 33 | 23 | Q | Q | 73 | Q | Q
Health care complex | 52 | 50 | 14 | 9 | 10 | Q | 11 | 24 | Q | Q
Lodging or resort complex | 65 | 53 | Q | Q | 30 | Q | 2 | 10 | N | N
Transportation complex | 35 | 32 | Q | Q | Q | Q | Q | 7 | N | Q
Government complex | 104 | 75 | Q | 14 | 11 | Q | 9 | 36 | Q | Q
Other | 371 | 273 | 88 | 60 | 51 | Q | 5 | 111 | Q | Q
Renovations in buildings constructed before 2008 (more than one may apply)
Any type of renovation | 2094 | 1854 | 640 | 279 | 317 | 25 | 77 | 867 | 44 | 1
Addition or annex | 444 | 413 | 148 | 68 | 75 | 5 | 35 | 194 | 11 | Q
Reduction in floorspace | 71 | 60 | 28 | 10 | 12 | Q | 1 | 23 | Q | N
Roof replacement | 987 | 870 | 307 | 126 | 153 | 10 | 47 | 398 | 18 | Q
Exterior wall replacement | 194 | 175 | 57 | 25 | 34 | Q | 6 | 85 | Q | N
Interior wall reconfiguration | 889 | 816 | 267 | 127 | 127 | 15 | 36 | 429 | 20 | Q
Window replacement | 560 | 516 | 170 | 94 | 90 | Q | 24 | 238 | 15 | Q
HVAC equipment upgrade | 1101 | 1026 | 346 | 178 | 146 | 18 | 54 | 522 | 21 | Q
Lighting upgrade | 982 | 891 | 272 | 149 | 151 | 19 | 47 | 460 | 29 | Q
Electrical upgrade | 747 | 675 | 245 | 113 | 123 | 9 | 26 | 314 | 12 | Q
Plumbing system upgrade | 644 | 582 | 202 | 98 | 103 | Q | 20 | 290 | 10 | Q
Insulation upgrade | 382 | 347 | 124 | 66 | 58 | Q | 14 | 160 | Q | Q
Fire, safety, or security upgrade | 616 | 569 | 172 | 100 | 96 | 13 | 34 | 301 | 16 | Q
Structural upgrade | 152 | 137 | 41 | 28 | 24 | Q | 6 | 68 | Q | Q
Other | 39 | 32 | Q | Q | Q | Q | Q | 19 | Q | N
No renovations | 3160 | 2372 | 830 | 364 | 380 | 25 | 71 | 933 | 60 | Q
Buildings constructed 2008 or later | 303 | 235 | 76 | 50 | 12 | Q | 15 | 110 | Q | N
Energy sources (more than one may apply)
Electricity | 5234 | 4461 | 1546 | 692 | 709 | 54 | 163 | 1909 | 109 | Q
Natural gas | 2933 | 2700 | 1012 | 265 | 385 | 21 | 127 | 1311 | 69 | Q
Fuel oil | 467 | 360 | 70 | 54 | 109 | 8 | 55 | 167 | 6 | Q
District heat | 48 | 44 | Q | 2 | 6 | 26 | 8 | 11 | Q | Q
District chilled water | 54 | 54 | Q | Q | 2 | 54 | 1 | 7 | Q | Q
Propane | 510 | 420 | 160 | 49 | 107 | Q | 10 | 153 | 21 | Q
Other | 172 | 126 | 47 | 22 | 26 | Q | 6 | 48 | Q | Q
Cooling energy sources (more than one may apply)
Electricity | 4413 | 4413 | 1546 | 692 | 709 | 13 | 162 | 1903 | 109 | Q
Natural gas | 12 | 12 | Q | Q | Q | Q | 5 | 8 | Q | Q
District chilled water | 54 | 54 | Q | Q | 2 | 54 | 1 | 7 | Q | Q
Energy end uses (more than one may apply)
Buildings with space heating | 4722 | 4272 | 1476 | 685 | 643 | 51 | 158 | 1841 | 99 | Q
Buildings with cooling | 4461 | 4461 | 1546 | 692 | 709 | 54 | 163 | 1909 | 109 | Q
Buildings with water heating | 4423 | 4097 | 1439 | 637 | 619 | 51 | 159 | 1787 | 102 | 3
Buildings with cooking | 1589 | 1497 | 548 | 227 | 242 | 9 | 80 | 687 | 41 | Q
Buildings with manufacturing | 259 | 217 | 76 | 24 | 53 | Q | 3 | 103 | Q | Q
Buildings with electricity generation | 410 | 386 | 92 | 66 | 65 | 12 | 71 | 201 | 6 | Q
Percent of floorspace cooled
Not cooled | 1096 | N | N | N | N | N | N | N | N | N
1 to 50 | 1173 | 1173 | 403 | 146 | 326 | Q | 8 | 394 | 36 | Q
51 to 99 | 897 | 897 | 312 | 147 | 123 | 18 | 58 | 435 | 20 | Q
100 | 2391 | 2391 | 831 | 399 | 260 | 36 | 97 | 1081 | 53 | Q
Heating equipment (more than one may apply)
Heat pumps | 628 | 621 | 86 | 549 | 46 | Q | 13 | 118 | 8 | Q
Furnaces | 755 | 728 | 530 | 60 | 92 | Q | 10 | 194 | Q | Q
Individual space heaters | 1247 | 1007 | 325 | 124 | 352 | 7 | 32 | 338 | 55 | Q
District heat | 48 | 44 | Q | 2 | 6 | 26 | 8 | 11 | Q | Q
Boilers | 544 | 483 | 119 | 55 | 133 | 9 | 106 | 203 | 12 | Q
Packaged heating units | 2802 | 2633 | 870 | 249 | 258 | 16 | 69 | 1589 | 57 | Q
Other | 62 | 55 | 24 | Q | Q | Q | Q | 23 | Q | N
Cooling equipment (more than one may apply)
Residential-type central air conditioners | 1546 | 1546 | 1546 | 57 | 120 | Q | 6 | 166 | 18 | Q
Heat pumps | 692 | 692 | 57 | 692 | 52 | Q | 13 | 113 | 13 | Q
Individual air conditioners | 709 | 709 | 120 | 52 | 709 | 2 | 18 | 135 | 12 | Q
District chilled water | 54 | 54 | Q | Q | 2 | 54 | 1 | 7 | Q | Q
Central chillers | 163 | 163 | 6 | 13 | 18 | 1 | 163 | 47 | 4 | Q
Packaged air conditioning units | 1909 | 1909 | 166 | 113 | 135 | 7 | 47 | 1909 | 31 | Q
Swamp coolers | 109 | 109 | 18 | 13 | 12 | Q | 4 | 31 | 109 | N
Other | Q | Q | Q | Q | Q | Q | Q | Q | N | Q
Main equipment replaced since 1990 (more than one may apply)
Heating | 1874 | 1714 | 587 | 296 | 295 | Q | 50 | 743 | 40 | Q
Cooling | 1971 | 1971 | 707 | 310 | 404 | Q | 62 | 793 | 48 | Q
Separate computer areas (more than one may apply)
Data center or server farm | 97 | 96 | 13 | 22 | 13 | 7 | 26 | 55 | 1 | Q
Computer-based training room | 244 | 242 | 37 | 45 | 31 | 8 | 38 | 150 | 5 | Q
Student or public computer center | 238 | 230 | 49 | 48 | 41 | 12 | 43 | 120 | 6 | Q
HVAC conservation features (more than one may apply)
Economizer cycle | 601 | 601 | 85 | 104 | 59 | 23 | 75 | 420 | 20 | 1
Regular HVAC maintenance | 3178 | 3023 | 982 | 517 | 316 | 47 | 150 | 1498 | 69 | 3
Building automation system (BAS)2 | 781 | 757 | 147 | 116 | 56 | 46 | 107 | 450 | 12 | 1
Equipment usage reduced when building not in full use (more than one may apply)
Heating | 3699 | 3403 | 1214 | 517 | 486 | 42 | 128 | 1488 | 80 | Q
Cooling | 3517 | 3517 | 1256 | 519 | 518 | 45 | 128 | 1530 | 83 | Q
Lighting | 4757 | 4196 | 1476 | 654 | 661 | 50 | 158 | 1781 | 107 | Q
1These climate regions were created by the Building America program, sponsored by the U.S. Department of Energy’s Office of Energy Efficiency and Renewable Energy (EERE). 2In earlier CBECS publications, BAS was referred to as Energy Management and Control System (EMCS). 3In versions of this table prior to January 2017, the row category labels for Separate computer areas and HVAC conservation features were reversed, i.e., the data in the Separate computer areas row category were actually for HVAC conservation features and vice versa. Q = Data withheld either because the Relative Standard Error (RSE) was greater than 50 percent or fewer than 20 buildings were sampled. N = No cases in reporting sample. Notes: ● Because of rounding, data may not sum to totals. ● See Guide to the 2012 CBECS Detailed Tables or CBECS Terminology for definition of terms used in these tables and/or comparison of differences with prior CBECS tables. Both references can be accessed from http://www.eia.gov/consumption/commercial/data/2012/ Source: U.S. Energy Information Administration, Office of Energy Consumption and Efficiency Statistics, Form EIA-871A of the 2012 Commercial Buildings Energy Consumption Survey.

## rse
Release date: April 2015 Revised date: January 2017
RSEs for Table B40. Cooling equipment, number of buildings, 2012
RSEs for number of buildings
| All buildings | Buildings with cooling | Cooling equipment (more than one may apply)
| All buildings |  | Resid- ential- type central air condi- tioners | Heat pumps | Indiv- idual air condi- tioners | District chilled water | Central chillers | Pack- aged air condi- tioning units | Swamp coolers | Other
All buildings | 5.37 | 5.4 | 7.01 | 8.84 | 7.26 | 17.3 | 7.08 | 6.26 | 16.55 | 51.56
Building floorspace (square feet)
1,001 to 5,000 | 5.38 | 4.93 | 7.31 | 11.35 | 9.5 | 51.25 | 58.74 | 6.52 | 24.37 | 111.98
5,001 to 10,000 | 8.01 | 8.98 | 11.17 | 10.34 | 13.66 | 51.83 | 37.59 | 11.47 | 25.41 | 0
10,001 to 25,000 | 6.92 | 7.35 | 9.68 | 14.16 | 13.37 | 22.5 | 14.65 | 8.01 | 20.92 | 100.08
25,001 to 50,000 | 8.14 | 8.24 | 13.61 | 17.42 | 15.28 | 33.06 | 16.33 | 8.52 | 34.46 | 104.42
50,001 to 100,000 | 7.75 | 7.67 | 19.71 | 12.67 | 13.03 | 48.45 | 11.03 | 8.36 | 38.67 | 65.27
100,001 to 200,000 | 6.99 | 7 | 17.9 | 11.26 | 12.1 | 31.27 | 12.41 | 8.2 | 46.91 | 44.63
200,001 to 500,000 | 6.82 | 6.92 | 31.9 | 17.88 | 12.34 | 24.34 | 9.45 | 8.42 | 33.18 | 49.82
Over 500,000 | 9.2 | 9.29 | 33.58 | 17.93 | 16.61 | 25.96 | 9.72 | 9.99 | 31.75 | 38.33
Principal building activity
Education | 7.55 | 7.9 | 14.18 | 17.38 | 14.79 | 23.55 | 9.2 | 13.03 | 33.3 | 61.46
Food sales | 11.35 | 11.46 | 18.21 | 29.29 | 35.61 | 0 | 100.2 | 14.39 | 53.26 | 0
Food service | 6.57 | 6.33 | 9.83 | 24 | 22.69 | 56.14 | 79.54 | 8.8 | 30.81 | 0
Health care | 10.79 | 10.94 | 18.75 | 28.4 | 35.21 | 54.66 | 18.83 | 14.47 | 79.55 | 79.39
Inpatient | 16.87 | 16.87 | 57.28 | 42.32 | 28.82 | 25.87 | 14.7 | 23.04 | 73 | 112.2
Outpatient | 11.27 | 11.43 | 18.76 | 30.44 | 48.3 | 95.88 | 27.6 | 15.64 | 89.06 | 111.76
Lodging | 9.84 | 9.88 | 20.51 | 19.82 | 14.28 | 73.91 | 18.66 | 14.57 | 46.64 | 104.42
Mercantile | 6 | 6.21 | 9.83 | 16.76 | 14.56 | 0 | 51.95 | 8.91 | 34.84 | 0
Retail (other than mall) | 6.86 | 7.08 | 12.13 | 23.9 | 14.73 | 0 | 52.77 | 10.85 | 43.09 | 0
Enclosed and strip malls | 11.05 | 11.05 | 14.5 | 19.3 | 34.71 | 0 | 53.36 | 12.26 | 48.67 | 0
Office | 6.71 | 6.65 | 7.82 | 12.89 | 11.87 | 36.32 | 15.92 | 8.69 | 41.45 | 44.22
Public assembly | 9.07 | 8.51 | 14.58 | 25.99 | 22.27 | 26.64 | 22.87 | 10.67 | 32.31 | 65.56
Public order and safety | 17.51 | 18.2 | 31.47 | 30.85 | 39.95 | 52.02 | 39.63 | 23.98 | 91.83 | 93.17
Religious worship | 7.31 | 7.02 | 11.26 | 14.93 | 16.73 | 100.45 | 39.05 | 10.37 | 72.3 | 100.08
Service | 7.44 | 8.28 | 13.72 | 20.71 | 14.78 | 0 | 50.72 | 11.43 | 35.23 | 111.98
Warehouse and storage | 12.76 | 19.49 | 21.58 | 23.87 | 24.24 | 0 | 54.13 | 21.53 | 27.94 | 100.07
Other | 14.47 | 17.4 | 27.18 | 41.92 | 39.87 | 58.65 | 24.65 | 24.38 | 56.15 | 62.56
Vacant | 11.49 | 18.91 | 29.18 | 50.17 | 53.55 | 75.24 | 62.87 | 29.47 | 74.04 | 113.01
Year constructed
Before 1920 | 10.54 | 9.56 | 12.7 | 22.66 | 16.69 | 78.16 | 32.99 | 12.71 | 75.67 | 0
1920 to 1945 | 6.68 | 6.86 | 11.9 | 20.99 | 14.25 | 40.12 | 32.01 | 12.96 | 40.62 | 108.77
1946 to 1959 | 7.74 | 7.3 | 11.81 | 16.38 | 13.64 | 67.23 | 16.31 | 10.62 | 30.55 | 98.09
1960 to 1969 | 7.94 | 8.8 | 12.32 | 18.89 | 17.8 | 30.82 | 20.93 | 10.14 | 36.48 | 96.89
1970 to 1979 | 7.54 | 7.97 | 11.39 | 16.88 | 14.77 | 31.45 | 15.19 | 9.57 | 30.16 | 61.06
1980 to 1989 | 8.28 | 9.13 | 13.89 | 14.35 | 17.33 | 49.54 | 17.6 | 8.54 | 32.74 | 62.31
1990 to 1999 | 6.18 | 5.7 | 10.61 | 13.02 | 17.75 | 34.39 | 20.81 | 7.65 | 31.21 | 39.33
2000 to 2003 | 9.32 | 10.04 | 13.59 | 19.35 | 17.64 | 44.89 | 20.35 | 15.19 | 55.4 | 61.45
2004 to 2007 | 13.34 | 14.48 | 18.12 | 21.01 | 20.24 | 49.63 | 22.48 | 18.09 | 43.73 | 111.68
2008 to 2012 | 15.42 | 15.18 | 18.72 | 21.9 | 48.71 | 67.43 | 22.22 | 17.72 | 42.67 | 0
Census region and division
Northeast | 9.01 | 6.75 | 11.92 | 17.05 | 10.63 | 47.27 | 10.57 | 8.83 | 102.45 | 61.27
New England | 22.71 | 16.02 | 24.56 | 29.77 | 16.66 | 96.95 | 9.66 | 22.34 | 112.63 | 70.52
Middle Atlantic | 6.98 | 7.28 | 13.88 | 20.68 | 13.79 | 53.92 | 17.52 | 8.46 | 109.69 | 63.03
Midwest | 9.25 | 9.61 | 14.11 | 19.83 | 18.31 | 28.53 | 11.84 | 10.24 | 77.07 | 69.3
East North Central | 12.12 | 12.53 | 18.68 | 23.32 | 19.55 | 34.39 | 10.24 | 14.4 | 77.07 | 55.92
West North Central | 14.23 | 14.79 | 20.73 | 32.17 | 32.32 | 50.73 | 28.08 | 12.16 | 0 | 96.51
South | 7.67 | 6.5 | 8.99 | 11.47 | 9.5 | 23.25 | 13.68 | 9.08 | 54.88 | 70.01
South Atlantic | 9.49 | 9.86 | 17.04 | 14.18 | 11.64 | 27.1 | 16.05 | 13.29 | 54.69 | 44.58
East South Central | 9.34 | 11.14 | 12.58 | 34.86 | 14.97 | 75.74 | 39.33 | 20.08 | 0 | 0
West South Central | 17.39 | 12.35 | 13.08 | 15.26 | 22.44 | 33.41 | 29.78 | 16.43 | 77.9 | 72.41
West | 16.02 | 18.12 | 23.75 | 21.69 | 25.75 | 33.92 | 13.07 | 16.9 | 17.12 | 48.1
Mountain | 12.44 | 14.29 | 20.43 | 36.29 | 38.55 | 33.6 | 21.83 | 16.69 | 20.86 | 70.84
Pacific | 21.35 | 23.83 | 32.13 | 25.37 | 30.71 | 39.1 | 16.69 | 21.65 | 25.05 | 57.42
Climate region1
Very cold/Cold | 7.29 | 7.71 | 9.73 | 15.78 | 12.08 | 34.95 | 9.33 | 8.7 | 24.11 | 48.72
Mixed-humid | 9.38 | 9.54 | 16.11 | 12.17 | 12.55 | 35.99 | 13.98 | 10.78 | 57.43 | 66.5
Mixed-dry/Hot-dry | 30.2 | 30.51 | 38.61 | 31.78 | 39.36 | 43.77 | 35.47 | 27.77 | 31.32 | 57.04
Hot-humid | 12.55 | 12.78 | 13.77 | 29.61 | 14.96 | 28.16 | 18.72 | 14.74 | 44.76 | 72.82
Marine | 46 | 45.01 | 56.98 | 56.66 | 59.76 | 101.26 | 35.36 | 41.15 | 68.3 | 71.02
Number of floors
One | 6.32 | 6.35 | 8.21 | 10.3 | 10.21 | 30.24 | 16.79 | 7.38 | 19.73 | 76.62
Two | 5.55 | 5.96 | 8.41 | 10.62 | 12.29 | 29.78 | 12.44 | 7.6 | 28.32 | 66.5
Three | 8.29 | 8.02 | 13.55 | 23.2 | 15.98 | 37.76 | 15.08 | 10.6 | 50.03 | 65.56
Four to nine | 9.36 | 9.52 | 21.06 | 17.12 | 16.18 | 39.02 | 13.54 | 13.14 | 32.94 | 43.5
Ten or more | 11.09 | 11.19 | 40.17 | 22.53 | 23.23 | 30.02 | 10.46 | 15.59 | 57.91 | 60.13
Number of workers (main shift)
Fewer than 5 | 5.8 | 5.69 | 8.95 | 11.4 | 8.81 | 46.61 | 26.92 | 7.15 | 25.57 | 110.39
5 to 9 | 7.17 | 7.19 | 9.6 | 13.45 | 13.55 | 36.3 | 31.11 | 8.22 | 22.33 | 82.01
10 to 19 | 8.79 | 9.1 | 10.3 | 16.06 | 16.89 | 47.9 | 24.04 | 9.62 | 26.64 | 70.32
20 to 49 | 7.45 | 7.85 | 10.9 | 13.73 | 15.29 | 27.08 | 13.7 | 9.44 | 25.71 | 100.1
50 to 99 | 8.04 | 8.12 | 18.53 | 17.67 | 12.69 | 32.89 | 12.65 | 8.63 | 34.45 | 54.94
100 to 249 | 9.46 | 9.5 | 36.34 | 16.35 | 16.15 | 39.98 | 12.42 | 9.49 | 36.15 | 59.24
250 or more | 7.55 | 7.55 | 27.65 | 14.73 | 13.6 | 33.24 | 7.96 | 9 | 34.91 | 41.7
Weekly operating hours
Fewer than 40 | 7.21 | 7.32 | 12.79 | 11.49 | 12.66 | 87.44 | 35.65 | 8.6 | 41.82 | 97.84
40 to 48 | 7.49 | 7.48 | 9.35 | 12.68 | 11.94 | 35.45 | 20.72 | 9.82 | 25.83 | 102.29
49 to 60 | 6.69 | 7.05 | 8.94 | 11.31 | 10.62 | 32.84 | 9.5 | 9.08 | 27.8 | 56.3
61 to 84 | 6.81 | 6.61 | 10.09 | 15.58 | 12.69 | 22.84 | 17.11 | 7.49 | 20.83 | 57.36
85 to 167 | 7.94 | 7.96 | 12.75 | 21.66 | 17.48 | 40.85 | 22.38 | 9.08 | 32.88 | 75.78
Open continuously | 8.08 | 7.18 | 12.32 | 12.99 | 12.96 | 32.94 | 11.76 | 9.65 | 52.37 | 56.66
Ownership and occupancy
Nongovernment owned | 5.5 | 5.52 | 7.09 | 8.6 | 8 | 26.44 | 10.54 | 6.42 | 18 | 59.29
Owner occupied | 5.58 | 5.39 | 7.87 | 9.2 | 9.08 | 31.26 | 14.84 | 6.75 | 20.86 | 76.13
Leased to tenant(s) | 7.64 | 7.93 | 10.1 | 11.84 | 12.06 | 42.79 | 16.39 | 8.7 | 24.21 | 53.67
Owner occupied and leased | 8.35 | 8.53 | 12.18 | 18.82 | 15.68 | 38.47 | 20.7 | 9.85 | 59.21 | 61.5
Unoccupied | 12.59 | 29.02 | 42.57 | 74.69 | 64.59 | 0 | 103.61 | 43.79 | 0 | 0
Government owned | 6.95 | 7.25 | 12.26 | 16.38 | 11.96 | 22.22 | 9.58 | 10.21 | 30.82 | 79.85
Federal | 25.19 | 25.19 | 36.5 | 47.95 | 74.97 | 51.21 | 41.59 | 30.01 | 68.32 | 59.3
State | 10.1 | 10.38 | 24.37 | 26.01 | 29.69 | 32.85 | 19.36 | 13.51 | 51.25 | 99.08
Local | 8.59 | 9.03 | 13.88 | 18.61 | 12.74 | 33.48 | 12.18 | 12.3 | 35.78 | 67.32
Party responsible for operation and maintenance of energy systems
Building owner | 5.3 | 5.13 | 7.07 | 8.76 | 7.39 | 17.46 | 7.3 | 6.1 | 17.45 | 55.39
Business owner or tenant | 9.16 | 9.86 | 12.19 | 20.04 | 17.41 | 76.34 | 40.64 | 10.1 | 22.82 | 84.28
Property management | 16.81 | 18.27 | 39.26 | 23.25 | 38.89 | 59.65 | 49.97 | 25.8 | 97.58 | 111.43
Other | 16.94 | 20.06 | 32.38 | 30.49 | 33.47 | 61.41 | 64.01 | 22.78 | 0 | 104.42
Provider of direct input on energy-related equipment purchases
Building owner | 5.23 | 5.08 | 7.07 | 8.78 | 7.6 | 17.42 | 7.27 | 5.78 | 15.87 | 52.21
Business owner or tenant | 10.08 | 10.81 | 13.44 | 20.25 | 19.58 | 79.89 | 45.19 | 12.28 | 38.75 | 84.28
Property management | 22.26 | 22.28 | 44.94 | 79.16 | 37.32 | 111.43 | 55.5 | 26.92 | 0 | 111.43
Other | 13.58 | 16.08 | 23.91 | 25.11 | 36.04 | 65.38 | 30.74 | 20.88 | 100.05 | 0
Campus or complex activity
Not part of a campus or complex | 5.21 | 5.2 | 7.14 | 8.74 | 7.82 | 35.61 | 11.02 | 6.16 | 17.44 | 47.26
Primary or secondary school | 12.02 | 13.02 | 27.67 | 25.23 | 20.15 | 36.49 | 21.76 | 18.27 | 50.89 | 0
College or university | 14.05 | 14.88 | 49.3 | 33.65 | 46.23 | 27.33 | 27.21 | 23.36 | 53.92 | 40.82
Office complex | 11.62 | 11.06 | 17.42 | 16.84 | 33.52 | 74.35 | 28.28 | 14.72 | 93.1 | 74.27
Retail complex | 11.83 | 13.4 | 18.05 | 28.47 | 22.57 | 0 | 65.35 | 13.56 | 49.61 | 0
Storage complex | 13.85 | 20.7 | 37.34 | 79.51 | 31.42 | 0 | 0 | 35.07 | 97.48 | 0
Religious campus or complex | 10.52 | 10.52 | 18.58 | 24.09 | 24.93 | 89.78 | 78.61 | 13.73 | 94.95 | 100.08
Health care complex | 16.56 | 17.23 | 29.57 | 45.59 | 32.98 | 54.35 | 26.69 | 22.89 | 49.38 | 104.42
Lodging or resort complex | 16.58 | 17.79 | 30.55 | 38.13 | 32.1 | 50.42 | 35.74 | 39.44 | 0 | 0
Transportation complex | 31.01 | 33.35 | 39.44 | 72.95 | 56.99 | 32.56 | 54.46 | 44.22 | 0 | 100.26
Government complex | 12.29 | 14.26 | 39.66 | 33.55 | 35.59 | 47.53 | 34.5 | 18.2 | 71.15 | 74.2
Other | 11.91 | 14.47 | 17.65 | 18.67 | 24.97 | 67.39 | 26.87 | 16.05 | 40.8 | 104.16
Renovations in buildings constructed before 2008 (more than one may apply)
Any type of renovation | 4.65 | 4.61 | 7.01 | 11.24 | 7.91 | 23.56 | 8.27 | 5.86 | 18.55 | 33.42
Addition or annex | 7.84 | 7.76 | 10.64 | 18.42 | 14.5 | 47.88 | 13.48 | 8.38 | 36.94 | 56.14
Reduction in floorspace | 16.95 | 17.1 | 23.12 | 37.84 | 38.21 | 104.54 | 27.1 | 22.45 | 68.72 | 0
Roof replacement | 5.45 | 5.15 | 8.29 | 13.79 | 11 | 30.17 | 11.09 | 6.33 | 28.56 | 49.75
Exterior wall replacement | 8.98 | 9.49 | 18.41 | 30.39 | 20.24 | 38.6 | 18.37 | 13.73 | 67.83 | 0
Interior wall reconfiguration | 6.1 | 6.19 | 8.95 | 14.44 | 12.24 | 30.4 | 11.21 | 7.26 | 29.29 | 36.64
Window replacement | 5.94 | 5.89 | 9.95 | 17.39 | 13.87 | 52.36 | 14.22 | 9.53 | 29.17 | 58.5
HVAC equipment upgrade | 4.9 | 4.87 | 9.15 | 12.1 | 10.26 | 26.68 | 9.68 | 5.86 | 25.26 | 36.56
Lighting upgrade | 5.23 | 5.13 | 9.63 | 11.67 | 10.8 | 28.43 | 9.93 | 6.49 | 21.27 | 37.72
Electrical upgrade | 6.04 | 5.66 | 8.4 | 13.91 | 14.04 | 40.27 | 13.07 | 7.47 | 32.74 | 51.75
Plumbing system upgrade | 5.8 | 5.73 | 10.57 | 14.36 | 14.67 | 54.59 | 13.24 | 8.03 | 41.24 | 56.09
Insulation upgrade | 7.95 | 7.46 | 10.78 | 21.05 | 17.43 | 61.9 | 14.24 | 10.18 | 43.5 | 68.65
Fire, safety, or security upgrade | 6.3 | 6.14 | 10.93 | 13.06 | 14.41 | 34.95 | 11.38 | 8.06 | 29.6 | 46.81
Structural upgrade | 9.99 | 10.41 | 20.04 | 22.54 | 24.52 | 86.84 | 19.89 | 14.71 | 71.63 | 96.89
Other | 28.68 | 31.68 | 49.75 | 58.9 | 58.36 | 84.24 | 53.87 | 39.02 | 70.23 | 0
No renovations | 6.21 | 6.76 | 8.37 | 9.69 | 9.86 | 21.04 | 10.37 | 8.23 | 20.23 | 69.66
Buildings constructed 2008 or later | 15.42 | 15.18 | 18.72 | 21.9 | 48.71 | 67.43 | 22.22 | 17.72 | 42.67 | 0
Energy sources (more than one may apply)
Electricity | 5.3 | 5.4 | 7.01 | 8.84 | 7.26 | 17.3 | 7.08 | 6.26 | 16.55 | 51.56
Natural gas | 5.32 | 5.67 | 7.69 | 11.35 | 8.15 | 25 | 8.14 | 6.17 | 19.38 | 54.19
Fuel oil | 11.54 | 9.51 | 17.77 | 16.42 | 13.27 | 20.59 | 9.52 | 12.27 | 31.92 | 34.43
District heat | 18.24 | 18.78 | 60.76 | 26.55 | 39.58 | 20.62 | 26.18 | 24.8 | 67.68 | 54.28
District chilled water | 17.3 | 17.3 | 48 | 62.26 | 33.93 | 17.3 | 41.15 | 42.2 | 61.11 | 65.18
Propane | 10.89 | 10.66 | 12.04 | 22.01 | 17.19 | 59.13 | 23.83 | 14.22 | 27.63 | 111.49
Other | 14.3 | 12.93 | 17.18 | 25.18 | 22.9 | 33.68 | 27.23 | 18.44 | 72.28 | 63.83
Cooling energy sources (more than one may apply)
Electricity | 5.46 | 5.46 | 7.01 | 8.84 | 7.26 | 30.55 | 7.16 | 6.27 | 16.55 | 51.56
Natural gas | 30.62 | 30.62 | 68.64 | 42.68 | 59.26 | 100.03 | 44.44 | 36.8 | 82.04 | 71
District chilled water | 17.3 | 17.3 | 48 | 62.26 | 33.93 | 17.3 | 41.15 | 42.2 | 61.11 | 65.18
Energy end uses (more than one may apply)
Buildings with space heating | 5.03 | 5.18 | 6.96 | 8.92 | 7.3 | 17.81 | 6.88 | 6.1 | 16.99 | 51.56
Buildings with cooling | 5.4 | 5.4 | 7.01 | 8.84 | 7.26 | 17.3 | 7.08 | 6.26 | 16.55 | 51.56
Buildings with water heating | 5.09 | 5.26 | 6.97 | 8.6 | 7.13 | 18.17 | 6.93 | 6.11 | 14.87 | 45.17
Buildings with cooking | 4.82 | 4.68 | 7.04 | 7.89 | 10.21 | 25.35 | 8.87 | 6.27 | 21.02 | 53.66
Buildings with manufacturing | 13.79 | 14.37 | 15.96 | 25.18 | 20.61 | 101.02 | 37.29 | 16.88 | 59.74 | 62.96
Buildings with electricity generation | 6.85 | 6.78 | 12.59 | 16.29 | 15.69 | 21.48 | 7.89 | 9.65 | 29.68 | 36.57
Percent of floorspace cooled
Not cooled | 8.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 to 50 | 10.51 | 10.51 | 12.71 | 14.02 | 11.75 | 65.45 | 32.61 | 12.63 | 21.59 | 108.66
51 to 99 | 6.41 | 6.41 | 10.02 | 14.33 | 11.36 | 34.1 | 10.88 | 8.16 | 29 | 43.5
100 | 4.64 | 4.64 | 7.09 | 9.9 | 8.12 | 18.96 | 8.07 | 5.82 | 19.61 | 63.34
Heating equipment (more than one may apply)
Heat pumps | 9.31 | 9.41 | 14.83 | 9.57 | 15.6 | 59.96 | 13.63 | 12.63 | 42.68 | 71.29
Furnaces | 7.18 | 7.29 | 8.84 | 16.06 | 14.78 | 67.99 | 29.96 | 10.56 | 29.1 | 82.01
Individual space heaters | 6.44 | 6.17 | 9.8 | 13.67 | 9.77 | 47.28 | 14.52 | 9.24 | 21.22 | 74.58
District heat | 18.27 | 18.8 | 60.76 | 26.98 | 39.58 | 20.65 | 26.21 | 24.85 | 67.68 | 54.28
Boilers | 6.45 | 6.25 | 13.5 | 15.92 | 8.95 | 42.77 | 7.68 | 8.43 | 25.55 | 60.14
Packaged heating units | 5.44 | 5.7 | 7.36 | 9.23 | 8.31 | 33.11 | 12.24 | 6.36 | 17.28 | 73.02
Other | 18.32 | 18.25 | 27.16 | 42.16 | 39.95 | 63.82 | 64.19 | 16.97 | 46.9 | 0
Cooling equipment (more than one may apply)
Residential-type central air conditioners | 7.01 | 7.01 | 7.01 | 16.59 | 14.21 | 48 | 26.38 | 10.4 | 21.8 | 71.85
Heat pumps | 8.84 | 8.84 | 16.59 | 8.84 | 14.9 | 62.26 | 14.15 | 12.7 | 31.85 | 42.84
Individual air conditioners | 7.26 | 7.26 | 14.21 | 14.9 | 7.26 | 33.93 | 18.34 | 8.82 | 43.59 | 61.5
District chilled water | 17.3 | 17.3 | 48 | 62.26 | 33.93 | 17.3 | 41.15 | 42.2 | 61.11 | 65.18
Central chillers | 7.08 | 7.08 | 26.38 | 14.15 | 18.34 | 41.15 | 7.08 | 11.23 | 40.89 | 42.85
Packaged air conditioning units | 6.26 | 6.26 | 10.4 | 12.7 | 8.82 | 42.2 | 11.23 | 6.26 | 24.45 | 42.09
Swamp coolers | 16.55 | 16.55 | 21.8 | 31.85 | 43.59 | 61.11 | 40.89 | 24.45 | 16.55 | 0
Other | 51.56 | 51.56 | 71.85 | 42.84 | 61.5 | 65.18 | 42.85 | 42.09 | 0 | 51.56
Main equipment replaced since 1990 (more than one may apply)
Heating | 4.78 | 4.95 | 7.1 | 10.92 | 8.98 | 43.41 | 12.94 | 6.3 | 16.98 | 102.71
Cooling | 4.86 | 4.86 | 6.88 | 10.62 | 8.76 | 78.49 | 11.58 | 6.19 | 20.1 | 47.15
Separate computer areas (more than one may apply)
Data center or server farm | 9.6 | 9.62 | 28.59 | 15.46 | 17.86 | 35.93 | 13.77 | 11.78 | 39.84 | 33.34
Computer-based training room | 6.76 | 6.8 | 15.06 | 19.32 | 15.8 | 21.86 | 9.84 | 8.82 | 29.48 | 42.48
Student or public computer center | 7.2 | 7.29 | 15.36 | 20.29 | 12.84 | 23.09 | 9.87 | 11.27 | 28.95 | 52.8
HVAC conservation features (more than one may apply)
Economizer cycle | 6.23 | 6.23 | 13.78 | 13.21 | 12.32 | 23.11 | 8.35 | 6.87 | 23.86 | 34.51
Regular HVAC maintenance | 5.3 | 5.46 | 6.65 | 9.46 | 8.22 | 14.72 | 6.23 | 6.39 | 15.76 | 45.17
Building automation system (BAS)2 | 7.29 | 7.4 | 13.43 | 12.47 | 12.95 | 17.57 | 6.89 | 8.41 | 23.49 | 31.58
Equipment usage reduced when building not in full use (more than one may apply)
Heating | 5.4 | 5.61 | 7.32 | 9.67 | 7.6 | 20.91 | 7.49 | 6.46 | 18.87 | 57.16
Cooling | 5.73 | 5.73 | 7.49 | 9.9 | 7.79 | 19.95 | 7.45 | 6.53 | 18.44 | 57.67
Lighting | 5.36 | 5.44 | 6.93 | 8.92 | 7.26 | 17.27 | 7.17 | 6.45 | 16.53 | 52.95